[image: image1.wmf]NOX

µg m-3

0

10

20

30

40

NO

µg m-3

0

5

10

NO2

µg m-3

0

10

20

Grav

PM10

µg m-3

0

100

200

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

September 2012

Grav

PM10

µg m-3

0

100

200



Produced by AEA on behalf of South Holland District Council
SPALDING MONKHOUSE SCHOOL

01 to 30 September 2012
These data are provisional from 01/01/2012 and may be subject to further quality control
	POLLUTANT
	NOX
	NO
	NO2
	PM10*+

	Number Very High
	-
	-
	0
	0

	Number High
	-
	-
	0
	0

	Number Moderate
	-
	-
	0
	13

	Number Low
	-
	-
	464
	707

	Maximum 15-minute mean
	44 µg m-3
	13 µg m-3
	29 µg m-3
	382 µg m-3

	Maximum hourly mean
	40 µg m-3
	11 µg m-3
	27 µg m-3
	269 µg m-3

	Maximum running 8-hour mean
	22 µg m-3
	5 µg m-3
	19 µg m-3
	141 µg m-3

	Maximum running 24-hour mean
	15 µg m-3
	4 µg m-3
	13 µg m-3
	72 µg m-3

	Maximum daily mean
	13 µg m-3
	4 µg m-3
	10 µg m-3
	70 µg m-3

	Average
	8 µg m-3
	1 µg m-3
	7 µg m-3
	21 µg m-3

	Data capture
	64.4 %
	64.4 %
	64.4 %
	98.2 %


+ PM10 as measured by a TEOM with a factor of 1.3 applied to give Indicative Gravimetric Equivalent concentrations.

All gaseous pollutant mass units are at 20'C and 1013mb. Particulate matter concentrations are reported at ambient temperature and pressure.

NOX mass units are NOX as NO2 µg m-3
	Pollutant
	Air Quality (England) Regulations 2000 and 

(Amendment) Regulations 2002
	Exceedences
	Days

	Nitrogen Dioxide
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Hourly mean > 200 µg m-3
	0
	0

	PM10 Particulate Matter

(Gravimetric)
	Daily mean > 50 µg m-3
	1
	1

	PM10 Particulate Matter

(Gravimetric)
	Annual mean > 40 µg m-3
	-
	-


Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year
Produced by AEA on behalf of South Holland District Council
Spalding Monkhouse School
Hourly Mean Data for 01 to 30 September 2012
[image: image2.jpg]


Date Created: 01/11/2012
	David Madle

Environmental Quality

AEA Group PLC

The Gemini Building

Fermi Avenue

Harwell

Didcot

Oxfordshire

OX11 0QJ
	Direct line 0870 190 6523

Direct facsimile 0870 190 6318

e-mail David.Madle@aeat.co.uk




