[image: image1.wmf]NOX

µg m-3

0

50

100

150

200

250

NO

µg m-3

0

50

100

NO2

µg m-3

0

15

30

45

60

Grav

PM10

µg m-3

0

15

30

45

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

31

December 2012

Grav

PM10

µg m-3

0

15

30

45



Produced by Ricardo-AEA on behalf of South Holland District Council
SPALDING MONKHOUSE SCHOOL

01 to 31 December 2012
These data are provisional from 01/07/2012 and may be subject to further quality control
	POLLUTANT
	NOX
	NO
	NO2
	PM10*+

	Number Very High
	-
	-
	0
	0

	Number High
	-
	-
	0
	0

	Number Moderate
	-
	-
	0
	0

	Number Low
	-
	-
	742
	744

	Maximum 15-minute mean
	223 µgm-3
	113 µgm-3
	61 µgm-3
	96 µgm-3

	Maximum hourly mean
	206 µgm-3
	104 µgm-3
	59 µgm-3
	51 µgm-3

	Maximum running 8-hour mean
	171 µgm-3
	85 µgm-3
	55 µgm-3
	32 µgm-3

	Maximum running 24-hour mean
	126 µgm-3
	54 µgm-3
	49 µgm-3
	29 µgm-3

	Maximum daily mean
	92 µgm-3
	33 µgm-3
	42 µgm-3
	27 µgm-3

	Average
	24 µgm-3
	4 µgm-3
	17 µgm-3
	13 µgm-3

	Data capture
	99.7 %
	99.7 %
	99.7 %
	100.0 %


+ PM10 as measured by a TEOM with a factor of 1.3 applied to give Indicative Gravimetric Equivalent concentrations.
Particulate matter concentrations are reported at ambient temperature and pressure.

All gaseous pollutant mass units are at 20'C and 1013mb. 

NOx mass units are NOx as NO2 µgm-3
	Pollutant
	Air Quality (England) Regulations 2000 and 

(Amendment) Regulations 2002
	Exceedences
	Days

	Nitrogen Dioxide
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Hourly mean > 200 µg m-3
	0
	0

	PM10 Particulate Matter

(Gravimetric)
	Daily mean > 50 µg m-3
	0
	0

	PM10 Particulate Matter

(Gravimetric)
	Annual mean > 40 µg m-3
	-
	-


Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year
Produced by Ricardo-AEA on behalf of South Holland District Council
Spalding Monkhouse School
Hourly Mean Data for 01 to 31 December 2012
[image: image2.jpg]RICARDO-AEA




Date Created: 15/01/2013


