[image: image1.wmf]Grav

PM10

µg m-3

0

20

40

60

80

100

NO2

µg m-3

0

20

40

60

80

NOX

µg m-3

0

50

100

150

MODERATE

O3

µg m-3

0

20

40

60

80

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

November 2014

O3

µg m-3

0

20

40

60

80



Produced by Ricardo-AEA on behalf of South Holland District Council
SOUTH HOLLAND WESTMERE SCHOOL

01 to 30 November 2014
These data are provisional from 01/07/2014 and may be subject to further quality control
	POLLUTANT
	PM10*+
	NO2
	NOX
	O3

	Maximum 15-minute mean
	90 µg m-3
	94 µg m-3
	206 µg m-3
	82 µg m-3

	Maximum hourly mean
	85 µg m-3
	94 µg m-3
	197 µg m-3
	82 µg m-3

	Maximum running 8-hour mean
	78 µg m-3
	88 µg m-3
	153 µg m-3
	72 µg m-3

	Maximum running 24-hour mean
	52 µg m-3
	73 µg m-3
	104 µg m-3
	64 µg m-3

	Maximum daily mean
	43 µg m-3
	73 µg m-3
	103 µg m-3
	57 µg m-3

	Average
	18 µg m-3
	22 µg m-3
	29 µg m-3
	30 µg m-3

	Data capture
	100.0 %
	99.0 %
	99.0 %
	99.9 %


* PM10 Indicative Gravimetric Equivalent µg m-3
+ PM10 as measured by a TEOM using a gravimetric factor of 1.3 for Indicative Gravimetric Equivalent
All gaseous pollutant mass units are at 20'C and 1013mb. Particulate matter concentrations are reported at ambient temperature and pressure.
NOX mass units are NOX as NO2 µg m-3
	Pollutant
	Air Quality (England) Regulations 2000 and 

(Amendment) Regulations 2002
	Exceedences
	Days

	PM10 Particulate Matter

(Gravimetric)
	Daily mean > 50 µg m-3
	0
	0

	PM10 Particulate Matter

(Gravimetric)
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Hourly mean > 200 µg m-3
	0
	0

	Nitrogen Oxides (NO2)
	Annual mean > 30 µg m-3
	-
	-

	Ozone
	Running 8-hour mean > 100 µg m-3
	0
	0


Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year
Produced by Ricardo-AEA on behalf of South Holland District Council
South Holland Westmere School
Hourly Mean Data for 01 to 30 November 2014
[image: image2.jpg]RICARDO-AEA




Date Created: 08/12/2014
	Michael Davies

Environmental Quality

Ricardo-AEA

The Gemini Building

Fermi Avenue

Harwell

Didcot

Oxfordshire

OX11 0QJ
	Direct line 01235 753234

e-mail michael.davies@ricardo-aea.com 




