[image: image1.wmf]Grav

PM10

µg m-3

0

10

20

30

40

50

NO2

µg m-3

0

15

30

45

60

NOX

µg m-3

0

20

40

60

80

O3

µg m-3

0

20

40

60

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

November 2015

O3

µg m-3

0

20

40

60



Produced by Ricardo Energy & Environment on behalf of South Holland District Council
SOUTH HOLLAND WESTMERE SCHOOL

01 to 30 November 2015
These data are provisional from 01/07/2015 and may be subject to further quality control
	POLLUTANT
	PM10*+
	NO2
	NOX
	O3

	Maximum 15-minute mean
	72 µg m-3
	67 µg m-3
	128 µg m-3
	76 µg m-3

	Maximum hourly mean
	47 µg m-3
	65 µg m-3
	92 µg m-3
	76 µg m-3

	Maximum running 8-hour mean
	30 µg m-3
	57 µg m-3
	73 µg m-3
	72 µg m-3

	Maximum running 24-hour mean
	25 µg m-3
	47 µg m-3
	60 µg m-3
	66 µg m-3

	Maximum daily mean
	23 µg m-3
	47 µg m-3
	59 µg m-3
	66 µg m-3

	Average
	13 µg m-3
	13 µg m-3
	17 µg m-3
	43 µg m-3

	Data capture
	99.9 %
	99.4 %
	99.4 %
	99.9 %


* PM10 Indicative Gravimetric Equivalent µg m-3
+ PM10 as measured by a TEOM using a gravimetric factor of 1.3 for Indicative Gravimetric Equivalent 
All gaseous pollutant mass units are at 20'C and 1013mb. Particulate matter concentrations are reported at ambient temperature and pressure.
NOX mass units are NOX as NO2 µg m-3
	Pollutant
	Air Quality (England) Regulations 2000 and 

(Amendment) Regulations 2002
	Exceedences
	Days

	PM10 Particulate Matter

(Gravimetric)
	Daily mean > 50 µg m-3
	0
	0

	PM10 Particulate Matter

(Gravimetric)
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Annual mean > 40 µg m-3
	-
	-

	Nitrogen Dioxide
	Hourly mean > 200 µg m-3
	0
	0

	Nitrogen Oxides (NO2)
	Annual mean > 30 µg m-3
	-
	-

	Ozone
	Running 8-hour mean > 100 µg m-3
	0
	0


Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year
Produced by Ricardo Energy & Environment on behalf of South Holland District Council
South Holland Westmere School
Hourly Mean Data for 01 to 30 November 2015
[image: image2.jpg]n Ricardo
Energy & Environment

RICARDO





Date Created: 03/12/2015
	Michael Davies
Ricardo Energy & Environment

Gemini Building

Fermi Avenue

Harwell

Didcot

Oxfordshire

OX11 0QR
	Direct Dial:       +44 (0)1235 753 234
Reception:        +44 (0)1235 753 000

e-mail Michael.A.Davies@ricardo.com 




