	Air Pollution Report


	
	

	
	

	Produced by Ricardo Energy & Environment on behalf of South Holland

	



	
	
	
	
	

	South Holland Westmere School

	
	
	
	

	
	01/09/2017 to 30/09/2017

	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Correction Factor for Gravimetric Equivalence applied

	
	
	
	

	
	
	
	
	

	
	V High (No. of Days)
High (No. of Days)
Mod (No. of Days)
Low (No. of Days)
Max. Hourly Conc.
Max. Daily Conc.
Max. Running 8 Hour Mean
Max. Running 24 Hour Mean
Period Mean Conc.
Period Data Capture (%)
NO
(µg/m³)
0
0
0
0
13.97
3.24
7.70
3.45
1.14
100.0
NO2
(µg/m³)
0
0
0
30
27.40
12.69
17.88
13.57
7.54
100.0
NOX
(µg/m³)
0
0
0
0
38.68
17.23
28.59
17.93
9.29
100.0
O3
(µg/m³)
0
0
0
30
82.22
55.45
71.58
60.22
38.28
99.9
PM10
(µg/m³)
0
0
0
30
58.27
24.83
37.98
29.36
13.34
100.0

	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	Air Quality Objective
Exceedances
Days
NO2
Hourly mean >  200 µg/m³
None
0
NO2
Period mean > annual mean obj  40 µg/m³
No
O3
8 Hourly mean >  100 µg/m³ (UK)
None
0
O3
8 Hourly mean >  120 µg/m³ (EU)
None
0
PM10
Daily mean >  50 µg/m³
None
0
PM10
Period mean > annual mean obj  40 µg/m³
No
Note: When comparing site measurements against the air quality objectives data capture should meet or exceed 90% across a calendar year.

	
	
	

	
	
	
	
	

	
	NO
µg/m³
[image: image1.png]14
2

o297

05097

oaoenT

11109117

14109117

17108117

200017

23007

260017

20007




NO2
µg/m³
[image: image2.png]30

2
15
10

o

o297

05097

oaoenT

11109117

14109117

17108117

200017

23007

260017

20007




NOX
µg/m³
[image: image3.png]40
30
2
10

o297

05097

oaoenT

11109117

14109117

17108117

200017

23007

260017

20007




O3
µg/m³
[image: image4.png]100-

80
60
40
2

0.

020917 0SNG OBUSNT OGN 140817 1TOST 200917 230917 2609NT 29008017





PM10
µg/m³
[image: image5.png]60
40

o297

05097

oaoenT

11109117

14109117

17108117

200017

23007

260017

20007





	
	
	

	
	
	
	
	



