## Jan
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O01326R
BOOKING IN REFERENCE | O01326
DESPATCH NOTE | 71637
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-02-10
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1510708 | 2020-01-06 | 2020-02-05 | 716.5833 | 8.506 | 4.4394 | 0.443
Winsover Road | 1510709 | 2020-01-06 | 2020-02-03 | 671.75 | 43.0129 | 22.4493 | 2.1
Woodfield Close | 1510710 | 2020-01-06 | 2020-02-04 | 697.75 | 12.0484 | 6.2883 | 0.611
46 The Hollies | 1510711 | 2020-01-08 | 2020-02-05 | 675.4167 | 16.5617 | 8.6439 | 0.813
Station Road | 1510712 | 2020-01-07 | 2020-02-06 | 719.5 | 19.907 | 10.3899 | 1.041
Boston Road A17 | 1510713 | 2020-01-08 | 2020-02-05 | 676.4167 | 23.0464 | 12.0284 | 1.133
Field End A17 | 1510714 | 2020-01-08 | 2020-02-05 | 675.3333 | 30.0104 | 15.663 | 1.473
Westmere | 1510715 | 2020-01-08 | 2020-02-05 | 675 | 15.0024 | 7.8301 | 0.736
Westmere | 1510716 | 2020-01-08 | 2020-02-05 | 675 | 14.2686 | 7.4471 | 0.7
Westmere | 1510717 | 2020-01-08 | 2020-02-05 | 675 | 15.0636 | 7.862 | 0.739
Donington A52 | 1510718 | 2020-01-09 | 2020-02-06 | 672.25 | 21.2039 | 11.0668 | 1.036
Blank | 1510719 |  |  | 744.83 | 0.036945 | 0.019283 | 0.002
Pinchbeck Road | 1510720 | 2020-01-06 | 2020-02-03 | 671.75 | 39.0188 | 20.3647 | 1.905
Whaplode | 1510721 | 2020-01-08 | 2020-02-05 | 675.4167 | 20.2082 | 10.5471 | 0.992
Pinchbeck | 1510722 | 2020-01-07 | 2020-02-06 | 718.5833 | 28.97 | 15.12 | 1.513
Gosberton | 1510723 | 2020-01-09 | 2020-02-06 | 672.3333 | 22.245 | 11.6101 | 1.087
High Street | 1510724 | 2020-01-06 | 2020-02-06 | 744.8333 | 32.4379 | 16.93 | 1.756
BP Garage | 1510725 | 2020-01-06 | 2020-02-04 | 698.5 | 23.0466 | 12.0285 | 1.17
Laboratory Blank |  |  |  | 744.8333 | 0.11084 | 0.057847 | 0.006
Comment: Results are not blank subtracted
Tubes 1510699 & 1510700 were not received for analysis.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Maggie Olszewska |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-02-18 |  | Date of Report |  | 2020-02-18
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Jan 2
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O01396R
BOOKING IN REFERENCE | O01396
DESPATCH NOTE | 75773
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-03-09
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Winsover Road | 1510699 | 2020-01-06 | 2020-02-03 | 671.75 | 41.11 | 21.46 | 2.01
Winsover Road | 1510700 | 2020-01-06 | 2020-02-03 | 671.75 | 51.62 | 26.94 | 2.52
Laboratory Blank |  |  |  | 671.75 | 0.1 | 0.05 | 0.005
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Aaron Nolan |  | Report Checked By |  | Louise Mathers
Date of Analysis | 2020-02-18 |  | Date of Report |  | 2020-02-18
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Feb
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O02081R
BOOKING IN REFERENCE | O02081
DESPATCH NOTE | 71638
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-03-09
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1532094 | 2020-02-05 | 2020-03-02 | 624.1667 | 13.8215 | 7.2137 | 0.627
Winsover Road | 1532095 | 2020-02-03 | 2020-03-02 | 671.0833 | 44.6753 | 23.317 | 2.179
Woodfield Close | 1532096 | 2020-02-04 | 2020-03-02 | 644.4167 | 13.0455 | 6.8087 | 0.611
46 The Hollies | 1532097 | 2020-02-05 | 2020-03-05 | 695.8333 | 12.0816 | 6.3056 | 0.611
Station Road | 1532098 | 2020-02-06 | 2020-03-04 | 643.75 | 13.0804 | 6.8269 | 0.612
Boston Road A17 | 1532099 | 2020-02-05 | 2020-03-05 | 695.8333 | 34.5244 | 18.019 | 1.746
Field End A17 | 1532100 | 2020-02-05 | 2020-03-03 | 644.8333 | 28.9974 | 15.1343 | 1.359
Westmere | 1532101 | 2020-02-05 | 2020-03-03 | 644.4167 | 11.7858 | 6.1513 | 0.552
Westmere | 1532102 | 2020-02-05 | 2020-03-03 | 644.4167 | 12.2342 | 6.3853 | 0.573
Westmere | 1532103 | 2020-02-05 | 2020-03-03 | 644.4167 | 11.3801 | 5.9395 | 0.533
Donington A52 | 1532104 | 2020-02-06 | 2020-03-04 | 644.4167 | 15.2233 | 7.9454 | 0.713
Blank | 1532105 |  |  | 695.8333 | 0 | 0 | 0
Pinchbeck Road | 1532106 | 2020-02-03 | 2020-03-02 | 670.4167 | 32.2622 | 16.8383 | 1.572
Whaplode | 1532107 | 2020-02-05 | 2020-03-05 | 695.1667 | 17.3777 | 9.0698 | 0.878
Pinchbeck | 1532108 | 2020-02-06 | 2020-03-04 | 645.1667 | 20.3239 | 10.6075 | 0.953
Gosberton | 1532109 | 2020-02-06 | 2020-03-04 | 644.4167 | 11.9353 | 6.2293 | 0.559
High Street | 1532110 | 2020-02-06 | 2020-03-02 | 594.4167 | 26.2719 | 13.7119 | 1.135
BP Garage | 1532111 | 2020-02-04 | 2020-03-02 | 644.1667 | 26.1866 | 13.6673 | 1.226
Laboratory Blank |  |  |  | 695.8333 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Molly Bevan |  | Report Checked By |  | Louise Mathers
Date of Analysis | 2020-03-13 |  | Date of Report |  | 2020-03-13
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Feb 2
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O02105R
BOOKING IN REFERENCE | O02105
DESPATCH NOTE | 76052
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-03-09
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Winsover Road | 1532093 | 2020-02-03 | 2020-03-02 | 671.0833 | 44.4908 | 23.2207 | 2.17
Winsover Road | 1532092 | 2020-02-03 | 2020-03-02 | 671.0833 | 40.8413 | 21.3159 | 1.992
Laboratory Blank |  |  |  | 671.0833 | 0.14352 | 0.074905 | 0.007
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Chris Andrew |  | Report Checked By |  | Louise Mathers
Date of Analysis | 2020-03-19 |  | Date of Report |  | 2020-03-19
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Mar - May
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O03221R
BOOKING IN REFERENCE | O03221
DESPATCH NOTE | 71639
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-06-05
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1550713 | 2020-03-02 | 2020-06-02 | 2207.3333 | 7.4987 | 3.9137 | 1.203
Winsover Road | 1550714 | 2020-03-02 | 2020-06-02 | 2208.3333 | 26.3799 | 13.7682 | 4.234
Woodfield Close | 1550715 | 2020-03-02 | 2020-06-02 | 2207.6667 | 8.3264 | 4.3457 | 1.336
46 The Hollies | 1550716 | 2020-03-05 | 2020-06-02 | 2135 | 7.6625 | 3.9992 | 1.189
Station Rd | 1550717 | 2020-03-04 | 2020-06-02 | 2160.5833 | 9.6287 | 5.0254 | 1.512
Boston Road A17 | 1550718 | 2020-03-05 | 2020-06-02 | 2135.5 | 24.2707 | 12.6674 | 3.767
Field End A17 | 1550719 | 2020-03-03 | 2020-06-02 | 2186.4167 | 15.8079 | 8.2505 | 2.512
Westmere | 1550720 | 2020-03-03 | 2020-06-03 | 2207.4167 | 7.3176 | 3.8192 | 1.174
Westmere | 1550721 | 2020-03-03 | 2020-06-03 | 2207.4167 | 6.526 | 3.4061 | 1.047
Westmere | 1550722 | 2020-03-03 | 2020-06-03 | 2207.4167 | 7.2865 | 3.803 | 1.169
Donington A52 | 1550723 | 2020-03-04 | 2020-06-02 | 2160 | 9.8861 | 5.1598 | 1.552
Blank | 1550724 |  |  | 2209 | 0.024914 | 0.013003 | 0.004
Pinchbeck Rd | 1550725 | 2020-03-02 | 2020-06-02 | 2209 | 19.2713 | 10.0581 | 3.094
Whaplode | 1550726 | 2020-03-05 | 2020-06-02 | 2135.25 | 12.4429 | 6.4942 | 1.931
Pinchbeck | 1550727 | 2020-03-04 | 2020-06-02 | 2159.1667 | 15.5613 | 8.1218 | 2.442
Gosberton | 1550728 | 2020-03-04 | 2020-06-02 | 2160 | 12.7143 | 6.6359 | 1.996
High Street | 1550729 | 2020-03-02 | 2020-06-02 | 2207.9167 | 15.6353 | 8.1604 | 2.509
BP Garage | 1550730 | 2020-03-02 | 2020-06-02 | 2208 | 15.1175 | 7.8901 | 2.426
Laboratory Blank |  |  |  | 2209 | 0.012457 | 0.0065017 | 0.002
Comment: Results are not blank subtracted
Tubes were exposed for longer than the recommended time. Results may be compromised.
Tube 1550725 contained a spider & web. Result may be compromised.
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Aaron Nolan |  | Report Checked By |  | Chris Andrew
Date of Analysis | 2020-06-13 |  | Date of Report |  | 2020-06-13
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Mar-May 2
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O03228R
BOOKING IN REFERENCE | O03228
DESPATCH NOTE | 76053
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-06-05
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Mar-03 Winsover Road | 1550710 | 2020-03-02 | 2020-06-02 | 2208.3333 | 25.8939 | 13.5146 | 4.156
Mar-04 Winsover Road | 1550711 | 2020-03-02 | 2020-06-02 | 2208.3333 | 26.7163 | 13.9438 | 4.288
Laboratory Blank |  |  |  | 2208.3333 | 0.031152 | 0.016259 | 0.005
Comment: Results are not blank subtracted
Tubes were exposed for longer than the recommended time. Results may be compromised.
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Chris Andrew |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-06-15 |  | Date of Report |  | 2020-06-16
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Jun
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O03723R
BOOKING IN REFERENCE | O03723
DESPATCH NOTE | 78473
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-07-06
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Jun-01 - 21 Millfield | 1581961 | 2020-06-02 | 2020-07-01 | 696.4167 | 7.7842 | 4.0627 | 0.394
Jun-02 - Winsover Road | 1581962 | 2020-06-02 | 2020-06-30 | 675.25 | 22.4341 | 11.7088 | 1.101
Jun-03 - Winsover Road | 1581963 | 2020-06-02 | 2020-06-30 | 675.25 | 24.2884 | 12.6766 | 1.192
Jun-04 - Winsover Road | 1581964 | 2020-06-02 | 2020-06-30 | 675.25 | 24.2476 | 12.6553 | 1.19
Jun-05 - Woodfield Close | 1581965 | 2020-06-02 | 2020-07-01 | 696.4167 | 8.4362 | 4.403 | 0.427
Jun-06 - 46 The Hollies | 1581966 | 2020-06-02 | 2020-06-30 | 668.9167 | 8.3305 | 4.3478 | 0.405
Jun-07 - Station Rd | 1581967 | 2020-06-02 | 2020-06-30 | 675.4167 | 10.5319 | 5.4968 | 0.517
Jun-08 - Boston Road A17 | 1581968 | 2020-06-02 | 2020-06-30 | 666.6667 | 19.8749 | 10.3731 | 0.963
Jun-09 - Field End A17 | 1581969 | 2020-06-02 | 2020-06-30 | 667 | 14.7698 | 7.7087 | 0.716
Jun-10 - Westmere | 1581970 | 2020-06-03 | 2020-06-30 | 647.8333 | 6.8813 | 3.5915 | 0.324
Jun-11 - Westmere | 1581971 | 2020-06-03 | 2020-06-30 | 647.8333 | 7.1574 | 3.7356 | 0.337
Jun-12 - Westmere | 1581972 | 2020-06-03 | 2020-06-30 | 647.8333 | 6.3078 | 3.2922 | 0.297
Jun-13 - Donington A52 | 1581973 | 2020-06-02 | 2020-06-30 | 675.3333 | 12.8354 | 6.6991 | 0.63
Jun-14 - Blank | 1581974 |  |  | 696.5 | 0 | 0 | 0
Jun-15 - Pinchbeck Road | 1581975 | 2020-06-02 | 2020-06-30 | 675.3333 | 16.8694 | 8.8045 | 0.828
Jun-16 - Whaplode | 1581976 | 2020-06-02 | 2020-06-30 | 666.9167 | 11.6564 | 6.0837 | 0.565
Jun-17 - Pinchbeck | 1581977 | 2020-06-02 | 2020-06-30 | 675.3333 | 16.3193 | 8.5174 | 0.801
Jun-18 - Gosberton | 1581978 | 2020-06-02 | 2020-06-30 | 675.25 | 11.6144 | 6.0618 | 0.57
Jun-19 - High Street | 1581979 | 2020-06-02 | 2020-07-01 | 696.5 | 14.0652 | 7.3409 | 0.712
Jun-20 - BP Garage | 1581980 | 2020-06-02 | 2020-07-01 | 696.4167 | 13.1383 | 6.8572 | 0.665
Laboratory Blank |  |  |  | 696.5 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Molly Bevan |  | Report Checked By |  | Chris Andrew
Date of Analysis | 2020-07-15 |  | Date of Report |  | 2020-07-15
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Jul
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O04520R
BOOKING IN REFERENCE | O04520
DESPATCH NOTE | 79431
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-08-12
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
2001-07-01 | 1597650 | 2020-07-01 | 2020-07-29 | 671.25 | 6.3338 | 3.3057 | 0.309
2002-07-01 | 1597651 | 2020-06-30 | 2020-07-29 | 692.6667 | 25.3065 | 13.208 | 1.274
2003-07-01 | 1597652 | 2020-06-30 | 2020-07-29 | 692.6667 | 23.5386 | 12.2853 | 1.185
2004-07-01 | 1597653 | 2020-06-30 | 2020-07-29 | 692.6667 | 24.651 | 12.8659 | 1.241
2005-07-01 | 1597654 | 2020-07-01 | 2020-07-29 | 671.3333 | 7.0093 | 3.6583 | 0.342
2006-07-01 | 1597655 | 2020-06-30 | 2020-07-28 | 670 | 6.7563 | 3.5262 | 0.329
2007-07-01 | 1597656 | 2020-06-30 | 2020-07-30 | 715.4167 | 12.097 | 6.3137 | 0.629
2008-07-01 | 1597657 | 2020-06-30 | 2020-07-28 | 671.75 | 29.4331 | 15.3617 | 1.437
2009-07-01 | 1597658 | 2020-06-30 | 2020-07-28 | 673.5 | 23.8203 | 12.4323 | 1.166
2010-07-01 | 1597659 | 2020-06-30 | 2020-07-28 | 672 | 6.7976 | 3.5478 | 0.332
2011-07-01 | 1597660 | 2020-06-30 | 2020-07-28 | 672 | 6.47 | 3.3768 | 0.316
2012-07-01 | 1597661 | 2020-06-30 | 2020-07-28 | 672 | 6.7362 | 3.5158 | 0.329
2013-07-01 | 1597662 | 2020-06-30 | 2020-07-30 | 715.4167 | 11.3277 | 5.9122 | 0.589
Jul-14 Blank | 1597663 |  |  | 715.4167 | 0.17309 | 0.090339 | 0.009
2015-07-01 | 1597664 | 2020-06-30 | 2020-07-29 | 692.6667 | 22.1283 | 11.5492 | 1.114
2016-07-01 | 1597665 | 2020-06-30 | 2020-07-28 | 671.8333 | 14.9502 | 7.8028 | 0.73
2017-07-01 | 1597666 | 2020-06-30 | 2020-07-30 | 715.4167 | 16.3473 | 8.532 | 0.85
2018-07-01 | 1597667 | 2020-06-30 | 2020-07-30 | 715.4167 | 10.3661 | 5.4103 | 0.539
2019-07-01 | 1597668 | 2020-07-01 | 2020-07-29 | 671 | 13.4924 | 7.042 | 0.658
2020-07-01 | 1597669 | 2020-07-01 | 2020-07-29 | 671.6667 | 17.2892 | 9.0236 | 0.844
Laboratory Blank |  |  |  | 715.4167 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Lauren Rose |  | Report Checked By |  | Pedro Gomes
Date of Analysis | 2020-08-28 |  | Date of Report |  | 2020-09-01
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Aug
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O04985R
BOOKING IN REFERENCE | O04985
DESPATCH NOTE | 79432
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-09-07
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1612400 | 2020-07-29 | 2020-09-03 | 864.5833 | 7.0817 | 3.6961 | 0.445
Winsover Road | 1612401 | 2020-07-29 | 2020-09-01 | 816.25 | 31.7574 | 16.5748 | 1.884
Winsover Road | 1612402 | 2020-07-29 | 2020-09-01 | 816.25 | 31.2854 | 16.3285 | 1.856
Winsover Road | 1612403 | 2020-07-29 | 2020-09-01 | 816.25 | 29.0604 | 15.1672 | 1.724
Woodfield Close | 1612404 | 2020-07-29 | 2020-09-03 | 868.75 | 7.903 | 4.1247 | 0.499
46 The Hollies | 1612405 | 2020-07-28 | 2020-09-03 | 894.3333 | 6.7692 | 3.533 | 0.44
Station Rd | 1612406 | 2020-07-30 | 2020-09-03 | 839.5 | 11.2104 | 5.851 | 0.684
Boston Road A17 | 1612407 | 2020-07-28 | 2020-09-03 | 894.6667 | 28.3126 | 14.7769 | 1.841
Field End A17 | 1612408 | 2020-07-28 | 2020-09-03 | 893.0833 | 21.846 | 11.4019 | 1.418
Westmere | 1612409 | 2020-07-28 | 2020-09-03 | 888.25 | 5.3905 | 2.8134 | 0.348
Westmere | 1612410 | 2020-07-28 | 2020-09-03 | 888.25 | 5.406 | 2.8215 | 0.349
Westmere | 1612411 | 2020-07-28 | 2020-09-03 | 888.25 | 5.7003 | 2.9751 | 0.368
Donington A52 | 1612412 | 2020-07-30 | 2020-09-02 | 821.0833 | 12.7354 | 6.6469 | 0.76
Blank | 1612413 |  |  | 895.75 | 0.01536 | 0.0080169 | 0.001
Pinchbeck Road | 1612414 | 2020-07-29 | 2020-09-02 | 844.8333 | 22.2305 | 11.6025 | 1.365
Whaplode | 1612415 | 2020-07-28 | 2020-09-03 | 895.75 | 12.15 | 6.3413 | 0.791
Pinchbeck | 1612417 | 2020-07-30 | 2020-09-02 | 821.8333 | 17.8468 | 9.3146 | 1.066
Gosberton | 1612416 | 2020-07-30 | 2020-09-02 | 821 | 11.9155 | 6.219 | 0.711
High Street | 1612418 | 2020-07-29 | 2020-09-03 | 871.5833 | 19.2434 | 10.0435 | 1.219
BP Garage | 1612419 | 2020-07-29 | 2020-09-03 | 867.9167 | 16.5029 | 8.6132 | 1.041
Laboratory Blank |  |  |  | 895.75 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Molly Bevan |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-09-16 |  | Date of Report |  | 2020-09-16
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Sept
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O05563R
BOOKING IN REFERENCE | O05563
DESPATCH NOTE | 79433
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-10-05
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1624553 | 2020-09-03 | 2020-09-28 | 604.4167 | 9.0146 | 4.7049 | 0.396
Winsover Road | 1624554 | 2020-09-01 | 2020-09-28 | 651.3333 | 34.8341 | 18.1806 | 1.649
Winsover Road | 1624555 | 2020-09-01 | 2020-09-28 | 651.3333 | 34.0525 | 17.7727 | 1.612
Winsover Road | 1624556 | 2020-09-01 | 2020-09-28 | 651.3333 | 32.7428 | 17.0891 | 1.55
Woodfield Close | 1624557 | 2020-09-03 | 2020-09-28 | 599.5 | 9.2721 | 4.8393 | 0.404
Station Road | 1624558 | 2020-09-03 | 2020-09-29 | 630.5 | 13.3553 | 6.9704 | 0.612
Boston Road A17 | 1624559 | 2020-09-03 | 2020-10-01 | 666 | 28.9848 | 15.1278 | 1.403
Field End A17 | 1624560 | 2020-09-03 | 2020-10-01 | 666.0833 | 25.3043 | 13.2068 | 1.225
Westmere | 1624561 | 2020-09-03 | 2020-10-01 | 672.3333 | 7.3263 | 3.8238 | 0.358
Westmere | 1624562 | 2020-09-03 | 2020-10-01 | 672.3333 | 6.917 | 3.6101 | 0.338
Westmere | 1624563 | 2020-09-03 | 2020-10-01 | 672.3333 | 7.2854 | 3.8024 | 0.356
Donington A52 | 1624564 | 2020-09-02 | 2020-09-29 | 648.9167 | 14.9057 | 7.7796 | 0.703
Blank | 1624565 |  |  | 672.3333 | 0.061394 | 0.032043 | 0.003
Pinchbeck Road | 1624566 | 2020-09-02 | 2020-09-28 | 622.75 | 28.9652 | 15.1175 | 1.311
Whaplode | 1624567 | 2020-09-03 | 2020-10-01 | 664.9167 | 16.2646 | 8.4888 | 0.786
Pinchbeck | 1624568 | 2020-09-02 | 2020-09-29 | 648.1667 | 22.5012 | 11.7439 | 1.06
Gosberton | 1624569 | 2020-09-02 | 2020-09-29 | 649.0833 | 14.1176 | 7.3683 | 0.666
High Street | 1624570 | 2020-09-03 | 2020-09-28 | 597 | 21.6641 | 11.3069 | 0.94
BP Garage | 1624571 | 2020-09-03 | 2020-09-28 | 599.5 | 20.2426 | 10.565 | 0.882
Laboratory Blank |  |  |  | 672.3333 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Lauren Rose |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-10-12 |  | Date of Report |  | 2020-10-12
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Oct
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O06243R
BOOKING IN REFERENCE | O06243
DESPATCH NOTE | 79434
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-11-06
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Oct-01, 21 Millfield | 1641976 | 2020-09-28 | 2020-11-02 | 835.8333 | 11.5724 | 6.0399 | 0.703
Oct-02, Winsover Road | 1641977 | 2020-09-28 | 2020-11-02 | 837 | 34.5372 | 18.0257 | 2.101
Oct-03, Winsover Road | 1641978 | 2020-09-28 | 2020-11-02 | 837 | 34.455 | 17.9828 | 2.096
Oct-04, Winsover Road | 1641979 | 2020-09-28 | 2020-11-02 | 836.0833 | 32.4028 | 16.9117 | 1.969
Oct-05, Woodfield Close | 1641980 | 2020-09-28 | 2020-11-02 | 841.1667 | 10.9756 | 5.7284 | 0.671
Oct-06, 46 The Hollies | 1641981 | 2020-10-01 | 2020-11-02 | 773.25 | 9.2883 | 4.8478 | 0.522
Oct-07, Station Road | 1641982 | 2020-09-29 | 2020-11-02 | 815.4167 | 9.2467 | 4.8261 | 0.548
Oct-08, Boston Road A17 | 1641983 | 2020-10-01 | 2020-11-02 | 773.5833 | 22.2504 | 11.6129 | 1.251
Oct-09, Field End A17 | 1641984 | 2020-10-01 | 2020-11-02 | 772 | 22.7594 | 11.8786 | 1.277
Oct-10, Westmere | 1641985 | 2020-10-01 | 2020-11-02 | 771.5 | 8.81 | 4.5981 | 0.494
Oct-11, Westmere | 1641986 | 2020-10-01 | 2020-11-02 | 771.5 | 8.2572 | 4.3096 | 0.463
Oct-12, Westmere | 1641987 | 2020-10-01 | 2020-11-02 | 771.5 | 7.5438 | 3.9373 | 0.423
Oct-13, Donington A52 | 1641988 | 2020-09-29 | 2020-11-03 | 834.4167 | 15.1372 | 7.9004 | 0.918
Oct-14, BLANK | 1641989 |  |  | 841.1667 | 0.016357 | 0.0085371 | 0.001
Oct-15, Pinchbeck Road | 1641990 | 2020-09-28 | 2020-11-02 | 837 | 20.8275 | 10.8703 | 1.267
Oct-16, Whaplode | 1641991 | 2020-10-01 | 2020-11-02 | 774 | 17.1188 | 8.9346 | 0.963
Oct-17, Pinchbeck | 1641992 | 2020-09-29 | 2020-11-03 | 834.4167 | 22.2277 | 11.6011 | 1.348
Oct-18, Gosberton | 1641993 | 2020-09-29 | 2020-11-03 | 834.3333 | 14.0503 | 7.3332 | 0.852
Oct-19, High Street | 1641994 | 2020-09-28 | 2020-11-02 | 836.4167 | 22.1581 | 11.5648 | 1.347
Oct-20, BP Garage | 1641995 | 2020-09-28 | 2020-11-02 | 837 | 20.3673 | 10.6301 | 1.239
Laboratory Blank |  |  |  | 841.1667 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Molly Bevan |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-11-11 |  | Date of Report |  | 2020-11-11
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Nov
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O06966R
BOOKING IN REFERENCE | O06966
DESPATCH NOTE | 79435
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2020-12-07
| Sample | Exposure Data |  |  |  |  | Âµg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1658357 | 2020-11-02 | 2020-12-03 | 744.8333 | 20.8001 | 10.856 | 1.126
Winsover Road | 1658358 | 2020-11-02 | 2020-12-02 | 723.3333 | 42.0379 | 21.9404 | 2.21
Winsover Road | 1658359 | 2020-11-02 | 2020-12-02 | 723.3333 | 40.5922 | 21.1859 | 2.134
Winsover Road | 1658360 | 2020-11-02 | 2020-12-02 | 723.3333 | 39.527 | 20.63 | 2.078
Woodfield Close | 1658361 | 2020-11-02 | 2020-12-02 | 723.9167 | 19.7666 | 10.3166 | 1.04
46 The Hollies | 1658362 | 2020-11-02 | 2020-12-02 | 714.3333 | 19.1457 | 9.9926 | 0.994
Station Rd | 1658363 | 2020-11-02 | 2020-12-02 | 719.5833 | 19.159 | 9.9995 | 1.002
Boston Road A17 | 1658343 | 2020-11-02 | 2020-12-02 | 714 | 26.0149 | 13.5777 | 1.35
Field End A17 | 1658344 | 2020-11-02 | 2020-12-02 | 715.75 | 32.9293 | 17.1865 | 1.713
Westmere | 1658345 | 2020-11-02 | 2020-12-02 | 716.5 | 17.8397 | 9.3109 | 0.929
Westmere | 1658346 | 2020-11-02 | 2020-12-02 | 716.5 | 16.2458 | 8.479 | 0.846
Westmere | 1658347 | 2020-11-02 | 2020-12-02 | 716.5 | 16.3034 | 8.5091 | 0.849
Donington A52 | 1658348 | 2020-11-03 | 2020-12-02 | 700.5833 | 23.6654 | 12.3515 | 1.205
Blank | 1658349 |  |  | 744.8333 | 0 | 0 | 0
Pinchbeck Road | 1658350 | 2020-11-02 | 2020-12-02 | 723.25 | 36.8682 | 19.2423 | 1.938
Whaplode | 1658351 | 2020-11-02 | 2020-12-02 | 713.5833 | 23.3885 | 12.207 | 1.213
Pinchbeck | 1658352 | 2020-11-03 | 2020-12-02 | 700.5833 | 30.0875 | 15.7033 | 1.532
Gosberton | 1658353 | 2020-11-03 | 2020-12-02 | 700.6667 | 22.0327 | 11.4993 | 1.122
High Street | 1658354 | 2020-11-02 | 2020-12-02 | 723.9167 | 32.8429 | 17.1414 | 1.728
Laboratory Blank |  |  |  | 744.8333 | 0.018473 | 0.0096412 | 0.001
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20Â°)
Overall M.U. | Â±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Molly Bevan |  | Report Checked By |  | Pedro Gomes
Date of Analysis | 2020-12-10 |  | Date of Report |  | 2020-12-10
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Dec
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | P00389R
BOOKING IN REFERENCE | P00389
DESPATCH NOTE | 79436
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2021-01-11
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1675618 | 2020-12-03 | 2021-01-04 | 771.1667 | 16.7356 | 8.7347 | 0.938
Winsover Road | 1675619 | 2020-12-02 | 2021-01-05 | 811.8333 | 37.6416 | 19.646 | 2.221
Winsover Road | 1675620 | 2020-12-02 | 2021-01-05 | 811.8333 | 38.8111 | 20.2563 | 2.29
Winsover Road | 1675621 | 2020-12-02 | 2021-01-05 | 811.8333 | 37.6586 | 19.6548 | 2.222
Woodfield Close | 1675622 | 2020-12-02 | 2021-01-05 | 811.9167 | 18.7257 | 9.7733 | 1.105
46 The Hollies | 1675623 | 2020-12-02 | 2021-01-05 | 818.8333 | 17.072 | 8.9102 | 1.016
Station Road | 1675624 | 2020-12-02 | 2021-01-05 | 811.8333 | 16.5752 | 8.6509 | 0.978
Boston Road A17 | 1675625 | 2020-12-02 | 2021-01-05 | 818.5833 | 26.0865 | 13.6151 | 1.552
Field End A17 | 1675626 | 2020-12-02 | 2021-01-05 | 818.1667 | 27.2265 | 14.2101 | 1.619
Westmere | 1675627 | 2020-12-02 | 2021-01-06 | 840.25 | 13.28 | 6.9311 | 0.811
Westmere | 1675628 | 2020-12-02 | 2021-01-06 | 840.25 | 14.8193 | 7.7345 | 0.905
Westmere | 1675629 | 2020-12-02 | 2021-01-06 | 840.25 | 15.4088 | 8.0422 | 0.941
Donington A52 | 1675630 | 2020-12-02 | 2021-01-05 | 811.8333 | 17.2362 | 8.9959 | 1.017
Blank | 1675631 |  |  | 840.25 | 0.016375 | 0.0085464 | 0.001
Pinchbeck Road | 1675632 | 2020-12-02 | 2021-01-05 | 811.9167 | 30.3678 | 15.8496 | 1.792
Whaplode | 1675633 | 2020-12-02 | 2021-01-05 | 818.5833 | 20.1027 | 10.492 | 1.196
Pinchbeck | 1675634 | 2020-12-02 | 2021-01-05 | 811.9167 | 26.1482 | 13.6473 | 1.543
Gosberton | 1675635 | 2020-12-02 | 2021-01-05 | 811.8333 | 19.4903 | 10.1724 | 1.15
High Street | 1675636 | 2020-12-02 | 2021-01-05 | 811.8333 | 30.7777 | 16.0635 | 1.816
BP Garage | 1675637 | 2020-12-02 | 2021-01-04 | 791.4167 | 25.1391 | 13.1206 | 1.446
Laboratory Blank |  |  |  | 840.25 | 0.11462 | 0.059825 | 0.007
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Isra Otman |  | Report Checked By |  | Andy Poole
Date of Analysis | 2021-01-19 |  | Date of Report |  | 2021-01-20
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.