## Jan
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q01214R
BOOKING IN REFERENCE | Q01214
DESPATCH NOTE | 86641
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44596
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1900876 | 2022-01-06 | 2022-01-31 | 603.9167 | 21.097 | 11.011 | 0.926
Winsover Road | 1900877 | 2022-01-06 | 2022-02-01 | 624.75 | 46.1386 | 24.0807 | 2.095
Winsover Road | 1900878 | 2022-01-06 | 2022-02-01 | 624.75 | 47.8344 | 24.9658 | 2.172
Winsover Road | 1900879 | 2022-01-06 | 2022-02-01 | 624.75 | 45.588 | 23.7933 | 2.07
Woodfield Close | 1900880 | 2022-01-05 | 2022-01-31 | 627.6667 | 21.0221 | 10.9719 | 0.959
46 The Hollies | 1900881 | 2022-01-05 | 2022-02-02 | 668.9167 | 20.2811 | 10.5851 | 0.986
Station Road | 1900882 | 2022-01-06 | 2022-02-01 | 628.75 | 21.0515 | 10.9872 | 0.962
Boston Road A17 | 1900883 | 2022-01-05 | 2022-02-01 | 643.5 | 0.64145 | 0.33478 | 0.03
Field End A17 | 1900884 | 2022-01-04 | 2022-02-02 | 693.25 | 33.7798 | 17.6304 | 1.702
Westmere | 1900885 | 2022-01-04 | 2022-02-02 | 694.5 | 17.117 | 8.9337 | 0.864
Westmere | 1900886 | 2022-01-04 | 2022-02-02 | 694.5 | 16.8991 | 8.82 | 0.853
Westmere | 1900887 | 2022-01-04 | 2022-02-02 | 694.5 | 15.3142 | 7.9928 | 0.773
Donington A52 | 1900888 | 2022-01-06 | 2022-02-01 | 628.8333 | 25.031 | 13.0642 | 1.144
Blank | 1900889 |  |  | 694.5 | 0.099057 | 0.0517 | 0.005
Pinchbeck Road | 1900894 | 2022-01-06 | 2022-02-01 | 624.8333 | 43.0937 | 22.4915 | 1.957
Whaplode | 1900890 | 2022-01-05 | 2022-02-02 | 667.1667 | 24.5208 | 12.7979 | 1.189
Pinchbeck | 1900891 | 2022-01-06 | 2022-02-01 | 629 | 32.6585 | 17.0451 | 1.493
Gosberton | 1900892 | 2022-01-06 | 2022-02-01 | 629 | 23.6462 | 12.3415 | 1.081
High Street | 1900893 | 2022-01-05 | 2022-01-31 | 627.75 | 33.5126 | 17.4909 | 1.529
BP Garage | 1900895 | 2022-01-06 | 2022-01-31 | 604.3333 | 33.3995 | 17.4319 | 1.467
Laboratory Blank |  |  |  | 694.5 | 0.1783 | 0.09306 | 0.009
Comment: Results are not blank subtracted
Results reported as <0.030 are below the reporting limit.
Tube 1900891 was dirty when received. Result may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Kumuthu Amaradasa |  | Report Checked By |  | Marek Bianga
Date of Analysis | 44602 |  | Date of Report |  | 44602
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Feb
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q02185R
BOOKING IN REFERENCE | Q02185
DESPATCH NOTE | 86642
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44627
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1924151 | 2022-01-31 | 2022-02-28 | 673.1667 | 11.0372 | 5.7605 | 0.54
Winsover Road | 1924152 | 2022-02-01 | 2022-03-04 | 741.9167 | 33.3628 | 17.4128 | 1.799
Winsover Road | 1924153 | 2022-02-01 | 2022-03-04 | 741.9167 | 36.1075 | 18.8453 | 1.947
Winsover Road | 1924154 | 2022-02-01 | 2022-03-04 | 741.9167 | 33.3257 | 17.3934 | 1.797
Woodfield Close | 1924155 | 2022-01-31 | 2022-03-04 | 765.25 | 12.5858 | 6.5688 | 0.7
46 The Hollies | 1924135 | 2022-02-02 | 2022-03-01 | 648.5 | 11.2873 | 5.8911 | 0.532
Station Road | 1924136 | 2022-02-01 | 2022-02-28 | 643.3333 | 12.7895 | 6.6751 | 0.598
Boston Road A17 | 1924137 | 2022-02-01 | 2022-03-01 | 672 | 56.1621 | 29.3122 | 2.743
Field End A17 | 1924138 | 2022-02-02 | 2022-03-01 | 648 | 21.233 | 11.082 | 1
Westmere | 1924139 | 2022-02-02 | 2022-03-01 | 648.4167 | 9.9519 | 5.1941 | 0.469
Westmere | 1924140 | 2022-02-02 | 2022-03-01 | 648.4167 | 9.4426 | 4.9283 | 0.445
Westmere | 1924141 | 2022-02-02 | 2022-03-01 | 648.4167 | 9.1668 | 4.7843 | 0.432
Donington A52 | 1924142 | 2022-02-01 | 2022-02-28 | 643.4167 | 13.4935 | 7.0425 | 0.631
Blank | 1924143 |  |  | 765.25 | 0.12586 | 0.065688 | 0.007
Pinchbeck Road | 1924144 | 2022-02-01 | 2022-03-04 | 742.8333 | 30.6544 | 15.9992 | 1.655
Whaplode | 1924145 | 2022-02-02 | 2022-03-01 | 650.4167 | 17.4733 | 9.1197 | 0.826
Pinchbeck | 1924146 | 2022-02-01 | 2022-02-28 | 643.3333 | 18.7351 | 9.7782 | 0.876
Gosberton | 1924147 | 2022-02-01 | 2022-02-28 | 643.3333 | 12.3831 | 6.463 | 0.579
High Street | 1924148 | 2022-01-31 | 2022-03-04 | 764.8333 | 23.4943 | 12.2622 | 1.306
BP Garage | 1924149 | 2022-01-31 | 2022-02-28 | 672.5 | 21.0937 | 11.0093 | 1.031
Laboratory Blank |  |  |  | 765.25 | 0 | 0 | 0
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Isra Otman |  | Report Checked By |  | Marek Bianga
Date of Analysis | 44631 |  | Date of Report |  | 44631
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Mar
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q02806R
BOOKING IN REFERENCE | Q02806
DESPATCH NOTE | 86643
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44652
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 1941639 | 2022-02-28 | 2022-03-28 | 672.1667 | 15.1475 | 7.9058 | 0.74
Winsover Road | 1941640 | 2022-03-04 | 2022-03-28 | 578.1667 | 41.3841 | 21.5992 | 1.739
Winsover Road | 1941641 | 2022-03-04 | 2022-03-28 | 578.1667 | 43.6449 | 22.7792 | 1.834
Winsover Road | 1941642 | 2022-03-04 | 2022-03-28 | 578.1667 | 40.099 | 20.9285 | 1.685
Woodfield Close | 1941643 | 2022-03-04 | 2022-03-28 | 580.25 | 15.1758 | 7.9206 | 0.64
46 The Hollies | 1941644 | 2022-03-01 | 2022-03-29 | 672.6667 | 15.7294 | 8.2095 | 0.769
Station Road | 1941645 | 2022-02-28 | 2022-03-30 | 720.1667 | 11.3294 | 5.9131 | 0.593
Boston Road A17 | 1941646 | 2022-03-01 | 2022-03-29 | 673.25 | 37.9509 | 19.8074 | 1.857
Field End A17 | 1941647 | 2022-03-01 | 2022-03-29 | 673.25 | 28.9997 | 15.1355 | 1.419
Westmere | 1941648 | 2022-03-01 | 2022-03-29 | 672.8333 | 12.6581 | 6.6065 | 0.619
Westmere | 1941649 | 2022-03-01 | 2022-03-29 | 672.8333 | 13.926 | 7.2683 | 0.681
Westmere | 1941650 | 2022-03-01 | 2022-03-29 | 672.8333 | 12.331 | 6.4358 | 0.603
Donington A52 | 1941651 | 2022-02-28 | 2022-03-30 | 720.0833 | 22.929 | 11.9671 | 1.2
Blank | 1941652 |  |  | 720.1667 | 0.19105 | 0.099715 | 0.01
Pinchbeck Road | 1941653 | 2022-03-04 | 2022-03-28 | 577.3333 | 26.954 | 14.0678 | 1.131
Whaplode | 1941654 | 2022-03-01 | 2022-03-29 | 672.6667 | 19.3499 | 10.0991 | 0.946
Pinchbeck | 1941655 | 2022-02-28 | 2022-03-30 | 720.1667 | 25.5247 | 13.3219 | 1.336
Gosberton | 1941656 | 2022-02-28 | 2022-03-30 | 720.1667 | 20.9585 | 10.9387 | 1.097
BP Garage | 1941657 | 2022-02-28 | 2022-03-28 | 672.1667 | 25.0344 | 13.0659 | 1.223
Laboratory Blank |  |  |  | 720.1667 | 0.11463 | 0.059829 | 0.006
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation : 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Kumuthu Amaradasa |  | Report Checked By |  | Vanessa Kellie
Date of Analysis | 44656 |  | Date of Report |  | 44656
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Apr
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q03955R
BOOKING IN REFERENCE | Q03955
DESPATCH NOTE | 86644
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44690
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
2001-04-01 | 1960119 | 2022-03-28 | 2022-05-03 | 858.6667 | 7.8676 | 4.1063 | 0.491
2002-04-01 | 1960120 | 2022-03-28 | 2022-05-03 | 863.1667 | 30.7964 | 16.0733 | 1.932
2003-04-01 | 1960121 | 2022-03-28 | 2022-05-03 | 863.1667 | 31.8165 | 16.6057 | 1.996
2004-04-01 | 1960122 | 2022-03-28 | 2022-05-03 | 863.1667 | 30.8123 | 16.0816 | 1.933
2005-04-01 | 1960123 | 2022-03-28 | 2022-05-03 | 859.4167 | 8.7893 | 4.5873 | 0.549
2006-04-01 | 1960124 | 2022-03-29 | 2022-05-04 | 867.5 | 8.1047 | 4.23 | 0.511
2007-04-01 | 1960125 | 2022-03-30 | 2022-05-03 | 819.0833 | 12.2626 | 6.4001 | 0.73
2008-04-01 | 1960126 | 2022-03-29 | 2022-05-04 | 866.6667 | 32.1961 | 16.8038 | 2.028
2009-04-01 | 1960127 | 2022-03-29 | 2022-05-04 | 868.5833 | 18.7396 | 9.7806 | 1.183
2010-04-01 | 1960128 | 2022-03-29 | 2022-05-04 | 867.3333 | 6.3454 | 3.3118 | 0.4
2011-04-01 | 1960129 | 2022-03-29 | 2022-05-04 | 867.3333 | 6.742 | 3.5188 | 0.425
2012-04-01 | 1960130 | 2022-03-29 | 2022-05-04 | 867.3333 | 6.9324 | 3.6182 | 0.437
2013-04-01 | 1960131 | 2022-03-30 | 2022-05-03 | 819.0833 | 13.0689 | 6.8209 | 0.778
Apr-14 Blank | 1960132 |  |  | 868.5833 | 0.15841 | 0.082676 | 0.01
2015-04-01 | 1960133 | 2022-03-28 | 2022-05-03 | 863.0833 | 22.8923 | 11.9479 | 1.436
2016-04-01 | 1960134 | 2022-03-29 | 2022-05-04 | 867.5 | 12.9105 | 6.7382 | 0.814
2017-04-01 | 1960135 | 2022-03-30 | 2022-05-03 | 819.0833 | 17.6547 | 9.2144 | 1.051
2018-04-01 | 1960136 | 2022-03-30 | 2022-05-03 | 819.0833 | 11.3723 | 5.9354 | 0.677
2019-04-01 | 1960137 | 2022-03-28 | 2022-05-03 | 862 | 23.1605 | 12.0879 | 1.451
2020-04-01 | 1960138 | 2022-03-28 | 2022-05-03 | 859.1667 | 17.4076 | 9.0854 | 1.087
Laboratory Blank |  |  |  | 868.5833 | 0.047522 | 0.024803 | 0.003
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Isra Otman |  | Report Checked By |  | Adam Robinson
Date of Analysis | 44697 |  | Date of Report |  | 44697
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## May
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q04854R
BOOKING IN REFERENCE | Q04854
DESPATCH NOTE | 86645
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44725
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
May-01 21 Millfield | 1986886 | 2022-05-03 | 2022-06-08 | 864.9167 | 7.1745 | 3.7445 | 0.451
May-02 Winsover Road | 1986887 | 2022-05-03 | 2022-06-06 | 817 | 31.5767 | 16.4805 | 1.875
May-03 Winsover Road | 1986888 | 2022-05-03 | 2022-06-06 | 817 | 31.4419 | 16.4102 | 1.867
May-04 Winsover Road | 1986889 | 2022-05-03 | 2022-06-06 | 817 | 33.2102 | 17.3331 | 1.972
May-05 Woodfield Close | 1986890 | 2022-05-03 | 2022-06-06 | 817.5833 | 8.6332 | 4.5058 | 0.513
May-06 46 The Hollies | 1986891 | 2022-05-04 | 2022-06-08 | 840 | 6.7157 | 3.5051 | 0.41
May-07 Station Road | 1986892 | 2022-05-03 | 2022-06-06 | 816.4167 | 12.4543 | 6.5002 | 0.739
May-08 Boston Road A17 | 1986893 | 2022-05-04 | 2022-06-08 | 841.9167 | 26.295 | 13.7239 | 1.609
May-09 Field End A17 | 1986894 | 2022-05-04 | 2022-06-08 | 840 | 21.8506 | 11.4043 | 1.334
May-10 Westmere | 1986895 | 2022-05-04 | 2022-06-07 | 813.25 | 6.6321 | 3.4614 | 0.392
May-11 Westmere | 1986896 | 2022-05-04 | 2022-06-07 | 813.25 | 6.5475 | 3.4173 | 0.387
May-12 Westmere | 1986897 | 2022-05-04 | 2022-06-07 | 813.25 | 6.7674 | 3.5321 | 0.4
May-13 Donington A52 | 1986898 | 2022-05-03 | 2022-06-06 | 816.3333 | 14.6635 | 7.6532 | 0.87
May-14 Blank | 1986899 |  |  | 864.9167 | 0.047724 | 0.024908 | 0.003
May-15 Pinchbeck Road | 1986900 | 2022-05-03 | 2022-06-06 | 816.9167 | 26.3587 | 13.7571 | 1.565
May-16 Whaplode | 1986901 | 2022-05-04 | 2022-06-08 | 839.9167 | 16.0046 | 8.3531 | 0.977
May-17 Pinchbeck | 1986902 | 2022-05-03 | 2022-06-06 | 816.25 | 17.4463 | 9.1056 | 1.035
May-18 Gosberton | 1986905 | 2022-05-03 | 2022-06-06 | 816.25 | 11.9849 | 6.2552 | 0.711
May-19 High Street | 1986903 | 2022-05-03 | 2022-06-06 | 817.9167 | 19.749 | 10.3074 | 1.174
May-20 BP Garage | 1986904 | 2022-05-03 | 2022-06-08 | 864.4167 | 14.1185 | 7.3687 | 0.887
Laboratory Blank |  |  |  | 864.9167 | 0.031816 | 0.016605 | 0.002
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Kumuthu Amaradasa |  | Report Checked By |  | Vanessa Kellie
Date of Analysis | 44734 |  | Date of Report |  | 44734
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Jun
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q05723R
BOOKING IN REFERENCE | Q05723
DESPATCH NOTE | 93979
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44753
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Jun-01, 21 Millfield | 2004129 | 2022-06-08 | 2022-07-06 | 675.5 | 6.8439 | 3.5719 | 0.336
Jun-02, Winsover Road | 2004130 | 2022-06-06 | 2022-07-04 | 672.0833 | 33.6767 | 17.5766 | 1.645
Jun-03, Winsover Road | 2004131 | 2022-06-06 | 2022-07-04 | 672.0833 | 32.1618 | 16.7859 | 1.571
Jun-04, Winsover Road | 2004132 | 2022-06-06 | 2022-07-04 | 672.0833 | 31.3634 | 16.3692 | 1.532
Jun-05, Woodfield Close | 2004133 | 2022-06-06 | 2022-07-04 | 671.3333 | 6.9478 | 3.6262 | 0.339
Jun-06, 46 The Hollies | 2004134 | 2022-06-08 | 2022-07-05 | 643.5 | 5.495 | 2.868 | 0.257
Jun-07, Station Road | 2004135 | 2022-06-06 | 2022-07-05 | 692.1667 | 10.9727 | 5.7269 | 0.552
Jun-08, Boston Road A17 | 2004136 | 2022-06-08 | 2022-07-05 | 642.9167 | 23.6694 | 12.3536 | 1.106
Jun-09, Field End A17 | 2004137 | 2022-06-08 | 2022-07-05 | 642.9167 | 23.3698 | 12.1972 | 1.092
Jun-10, Westmere | 2004138 | 2022-06-07 | 2022-07-05 | 670.6667 | 5.4776 | 2.8589 | 0.267
Jun-11, Westmere | 2004139 | 2022-06-07 | 2022-07-05 | 670.6667 | 5.2314 | 2.7304 | 0.255
Jun-12, Westmere | 2004140 | 2022-06-07 | 2022-07-05 | 670.6667 | 5.6212 | 2.9338 | 0.274
Jun-13, Donington A52 | 2004141 | 2022-06-06 | 2022-07-07 | 740.3333 | 13.0652 | 6.819 | 0.703
Jun-14, Blank | 2004142 |  |  | 740.3333 | 0.18585 | 0.096998 | 0.01
Jun-15, Pinchbeck Road | 2004143 | 2022-06-06 | 2022-07-04 | 672.0833 | 26.7366 | 13.9544 | 1.306
Jun-16, Whaplode | 2004144 | 2022-06-08 | 2022-07-05 | 643.4167 | 11.9752 | 6.2501 | 0.56
Jun-17, Pinchbeck | 2004145 | 2022-06-06 | 2022-07-07 | 740.3333 | 16.522 | 8.6231 | 0.889
Jun-18, Gosberton | 2004146 | 2022-06-06 | 2022-07-07 | 740.3333 | 10.5005 | 5.4804 | 0.565
Jun-19, High Street | 2004147 | 2022-06-06 | 2022-07-04 | 669.9167 | 22.3868 | 11.6841 | 1.09
Jun-20, BP Garage | 2004148 | 2022-06-08 | 2022-07-04 | 624.8333 | 19.0696 | 9.9528 | 0.866
Laboratory Blank |  |  |  | 740.3333 | 0.33453 | 0.1746 | 0.018
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Alison Wright |  | Report Checked By |  | Marek Bianga
Date of Analysis | 44762 |  | Date of Report |  | 44762
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Jul
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q06796R
BOOKING IN REFERENCE | Q06796
DESPATCH NOTE | 94760
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44790
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Jul-01 21 Millfield | 2024217 | 2022-07-06 | 2022-08-04 | 692.25 | 6.1019 | 3.1847 | 0.307
Jul-02 Winsover Road | 2024218 | 2022-07-04 | 2022-08-01 | 671.5833 | 29.1741 | 15.2265 | 1.424
Jul-03 Winsover Road | 2024219 | 2022-07-04 | 2022-08-01 | 671.5833 | 32.0013 | 16.7022 | 1.562
Jul-04 Winsover Road | 2024220 | 2022-07-04 | 2022-08-01 | 671.5833 | 33.1281 | 17.2903 | 1.617
Jul-05 Woodfield Close | 2024221 | 2022-07-04 | 2022-08-01 | 672.25 | 6.6927 | 3.4931 | 0.327
Jul-06 46 The Hollies | 2024222 | 2022-07-05 | 2022-08-03 | 696.6667 | 6.4384 | 3.3603 | 0.326
Jul-07 Station Road | 2024201 | 2022-07-05 | 2022-08-03 | 700.25 | 9.5493 | 4.984 | 0.486
Jul-08 Boston Road A17 | 2024202 | 2022-07-05 | 2022-08-03 | 697.6667 | 25.7759 | 13.453 | 1.307
Jul-09 Field End A17 | 2024203 | 2022-07-05 | 2022-08-03 | 697.1667 | 23.3867 | 12.206 | 1.185
Jul-10 Westmere | 2024204 | 2022-07-05 | 2022-08-04 | 721.3333 | 4.883 | 2.5486 | 0.256
Jul-11 Westmere | 2024205 | 2022-07-05 | 2022-08-04 | 721.3333 | 4.883 | 2.5486 | 0.256
Jul-12 Westmere | 2024206 | 2022-07-05 | 2022-08-04 | 721.3333 | 4.8067 | 2.5087 | 0.252
Jul-13 Donington A52 | 2024207 | 2022-07-07 | 2022-08-03 | 652.1667 | 13.6289 | 7.1132 | 0.646
Jul-14 Blank | 2024208 |  |  | 721.3333 | 0.40056 | 0.20906 | 0.021
Jul-15 Pinchbeck Road | 2024209 | 2022-07-04 | 2022-08-01 | 671.5833 | 22.9459 | 11.9759 | 1.12
Jul-16 Whaplode | 2024210 | 2022-07-05 | 2022-08-03 | 696.75 | 12.1249 | 6.3282 | 0.614
Jul-17 Pinchbeck | 2024211 | 2022-07-07 | 2022-08-03 | 651.9167 | 17.6864 | 9.2309 | 0.838
Jul-18 Gosberton | 2024212 | 2022-07-07 | 2022-08-03 | 652.1667 | 12.996 | 6.7829 | 0.616
Jul-19 High Street | 2024213 | 2022-07-04 | 2022-08-01 | 674.5833 | 21.4773 | 11.2094 | 1.053
Jul-20 BP Garage | 2024214 | 2022-07-04 | 2022-08-01 | 672.4167 | 16.7993 | 8.7679 | 0.821
Laboratory Blank |  |  |  | 721.3333 | 0.076298 | 0.039821 | 0.004
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.031mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY2
Analyst Name | Alison Wright |  | Report Checked By |  | Jon Hall
Date of Analysis | 44799 |  | Date of Report |  | 44799
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Aug
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q07253R
BOOKING IN REFERENCE | Q07253
DESPATCH NOTE | 94761
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44810
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 2043444 | 2022-08-04 | 2022-09-01 | 671.5 | 7.0895 | 3.7002 | 0.346
Winsover Road | 2043445 | 2022-08-01 | 2022-09-01 | 748.75 | 30.0263 | 15.6714 | 1.634
Winsover Road | 2043446 | 2022-08-01 | 2022-09-01 | 748.75 | 29.4383 | 15.3645 | 1.602
Winsover Road | 2043447 | 2022-08-01 | 2022-09-01 | 748.75 | 30.5041 | 15.9207 | 1.66
Woodfield Close | 2043448 | 2022-08-01 | 2022-09-01 | 743.9167 | 7.953 | 4.1508 | 0.43
46 The Hollies | 2043449 | 2022-08-03 | 2022-08-31 | 670 | 7.3313 | 3.8264 | 0.357
Station Road | 2043450 | 2022-08-03 | 2022-08-31 | 672.25 | 11.5025 | 6.0034 | 0.562
Boston Road A17 | 2043451 | 2022-08-03 | 2022-09-02 | 717.2333 | 33.8779 | 17.6816 | 1.766
Field End A17 | 2043452 | 2022-08-03 | 2022-09-02 | 717.8333 | 14.6439 | 7.643 | 0.764
Westmere | 2043453 | 2022-08-04 | 2022-08-31 | 646.6667 | 4.8937 | 2.5541 | 0.23
Westmere | 2043454 | 2022-08-04 | 2022-08-31 | 646.6667 | 4.9788 | 2.5985 | 0.234
Westmere | 2043455 | 2022-08-04 | 2022-08-31 | 646.6667 | 4.8298 | 2.5208 | 0.227
Donington A52 | 2043456 | 2022-08-03 | 2022-08-31 | 672.25 | 14.8796 | 7.766 | 0.727
Blank | 2043457 |  |  | 748.75 | 0.18376 | 0.095908 | 0.01
Pinchbeck Road | 2043458 | 2022-08-01 | 2022-09-01 | 748.75 | 20.8751 | 10.8951 | 1.136
Whaplode | 2043459 | 2022-08-03 | 2022-08-31 | 671.4167 | 15.8407 | 8.2676 | 0.773
Pinchbeck | 2043460 | 2022-08-03 | 2022-08-31 | 672.5 | 22.1372 | 11.5538 | 1.082
Gosberton | 2043461 | 2022-08-03 | 2022-08-31 | 672.25 | 10.1517 | 5.2984 | 0.496
High Street | 2043462 | 2022-08-01 | 2022-09-01 | 748.1667 | 19.5857 | 10.2222 | 1.065
BP Garage | 2043463 | 2022-08-01 | 2022-09-01 | 742 | 16.1325 | 8.4199 | 0.87
Laboratory Blank |  |  |  | 748.75 | 0.018376 | 0.0095908 | 0.001
Comment: Results are not blank subtracted
Tube 2043444 contained a spider & web. Result may be compromised.
Tubes 2043458 & 2043458 contained webs. Results may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Sarah Cook |  | Report Checked By |  | Chris Andrew
Date of Analysis | 44819 |  | Date of Report |  | 44819
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Sep
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q07941R
BOOKING IN REFERENCE | Q07941
DESPATCH NOTE | 94762
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 44837
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21 Millfield | 2061473 | 2022-09-01 | 2022-09-26 | 605.3333 | 9.4101 | 4.9113 | 0.414
Winsover Road | 2061472 | 2022-09-01 | 2022-09-26 | 595.1667 | 36.1333 | 18.8587 | 1.563
Winsover Road | 2061471 | 2022-09-01 | 2022-09-26 | 595.1667 | 33.729 | 17.6039 | 1.459
Winsover Road | 2061470 | 2022-09-01 | 2022-09-26 | 595.1667 | 35.3473 | 18.4485 | 1.529
Woodfield Close | 2061469 | 2022-09-01 | 2022-09-26 | 600.1667 | 10.8207 | 5.6476 | 0.472
46 The Hollies | 2061468 | 2022-08-31 | 2022-09-28 | 676.8333 | 8.9242 | 4.6577 | 0.439
Station Road | 2061467 | 2022-08-31 | 2022-09-28 | 671.5833 | 13.4807 | 7.0359 | 0.658
Boston Road A17 | 2061480 | 2022-09-02 | 2022-09-28 | 628.1833 | 32.1972 | 16.8044 | 1.47
Field End A17 | 2061479 | 2022-09-02 | 2022-09-28 | 628.6667 | 25.6723 | 13.3989 | 1.173
Westmere | 2061478 | 2022-08-31 | 2022-09-28 | 674.5833 | 6.9755 | 3.6407 | 0.342
Westmere | 2061477 | 2022-08-31 | 2022-09-28 | 674.5833 | 6.7308 | 3.5129 | 0.33
Westmere | 2061476 | 2022-08-31 | 2022-09-28 | 674.5833 | 6.5676 | 3.4278 | 0.322
Donington A52 | 2061475 | 2022-08-31 | 2022-09-28 | 671.5 | 15.8387 | 8.2666 | 0.773
Blank | 2061474 |  |  | 676.8333 | 0.1423 | 0.074269 | 0.007
Pinchbeck Road | 2061466 | 2022-09-01 | 2022-09-26 | 595.1667 | 28.828 | 15.0459 | 1.247
Whaplode | 2061465 | 2022-08-31 | 2022-09-26 | 627.4167 | 15.7674 | 8.2293 | 0.719
Pinchbeck | 2061464 | 2022-08-31 | 2022-09-28 | 672.5 | 23.8353 | 12.4401 | 1.165
Gosberton | 2061463 | 2022-08-31 | 2022-09-28 | 672 | 15.0899 | 7.8757 | 0.737
High Street | 2061462 | 2022-09-01 | 2022-09-26 | 595.6667 | 24.7847 | 12.9356 | 1.073
BP Garage | 2061461 | 2022-09-01 | 2022-09-26 | 605.45 | 18.1575 | 9.4768 | 0.799
Laboratory Blank |  |  |  | 676.8333 | 0.22361 | 0.11671 | 0.011
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Chris Andrew |  | Report Checked By |  | Adam Robinson
Date of Analysis | 44846 |  | Date of Report |  | 44846
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Oct
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q09045R
BOOKING IN REFERENCE | Q09045
DESPATCH NOTE | 94763
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2022-11-07
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Oct-01 21 Millfield | 2082016 | 2022-09-26 | 2022-10-31 | 839.75 | 9.3392 | 4.8743 | 0.57
Oct-02 Winsover Road | 2082017 | 2022-09-26 | 2022-10-31 | 841.75 | 39.7037 | 20.7222 | 2.429
Oct-03 Winsover Road | 2082015 | 2022-09-26 | 2022-10-31 | 841.75 | 37.9057 | 19.7838 | 2.319
Oct-04 Winsover Road | 2082014 | 2022-09-26 | 2022-10-31 | 841.75 | 34.5221 | 18.0178 | 2.112
Oct-05 Woodfield Close | 2082013 | 2022-09-26 | 2022-10-31 | 843.0833 | 13.6434 | 7.1208 | 0.836
Oct-06 46 The Hollies | 2082012 | 2022-09-28 | 2022-11-02 | 840.5833 | 10.7049 | 5.5871 | 0.654
Oct-07 Station Road | 2082023 | 2022-09-28 | 2022-11-01 | 815.25 | 14.9362 | 7.7955 | 0.885
Oct-08 Boston Road A17 | 2082022 | 2022-09-28 | 2022-11-02 | 842 | 18.841 | 9.8335 | 1.153
Oct-09 Field End A17 | 2082021 | 2022-09-28 | 2022-11-02 | 841 | 24.2623 | 12.663 | 1.483
Oct-13 Donington A52 | 2082020 | 2022-09-28 | 2022-11-01 | 816.0833 | 19.0853 | 9.961 | 1.132
Oct-14 Blank | 2082019 |  |  | 888.6667 | 0 | 0 | 0
Oct-16 Whaplode | 2082018 | 2022-09-26 | 2022-11-02 | 888.6667 | 13.7642 | 7.1838 | 0.889
Oct-17 Pinchbeck | 2082029 | 2022-09-28 | 2022-11-01 | 815.9167 | 23.8109 | 12.4274 | 1.412
Oct-18 Gosberton | 2082028 | 2022-09-28 | 2022-11-01 | 815.5833 | 16.752 | 8.7432 | 0.993
Oct-19 High Street | 2082027 | 2022-09-26 | 2022-10-31 | 843.25 | 25.8782 | 13.5064 | 1.586
Oct-20 BP Garage | 2082026 | 2022-09-26 | 2022-10-31 | 839.6333 | 23.0728 | 12.0422 | 1.408
Laboratory Blank |  |  |  | 888.6667 | 0.077414 | 0.040404 | 0.005
Comment: Results are not blank subtracted
Tube 2082016 gave an unusual colour change during analysis. Result may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.028mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY1
Analyst Name | Sania Choudhury |  | Report Checked By |  | Jon Hall
Date of Analysis | 2022-11-21 |  | Date of Report |  | 2022-11-21
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Nov
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | Q09662R
BOOKING IN REFERENCE | Q09662
DESPATCH NOTE | 94764
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2022-12-05
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
Nov-01 21 Millfield | 2103725 | 2022-10-31 | 2022-11-29 | 691.1667 | 14.3728 | 7.5015 | 0.722
Nov-02 Winsover Road | 2103724 | 2022-10-31 | 2022-11-29 | 693 | 42.3888 | 22.1236 | 2.135
Nov-03 Winsover Road | 2103723 | 2022-10-31 | 2022-11-29 | 693 | 39.4107 | 20.5693 | 1.985
Nov-04 Winsover Road | 2103722 | 2022-10-31 | 2022-11-29 | 693 | 35.2215 | 18.3828 | 1.774
Nov-05 Woodfield Close | 2103721 | 2022-10-31 | 2022-11-29 | 692.25 | 15.2845 | 7.9773 | 0.769
Nov-06 46 The Hollies | 2103720 | 2022-11-02 | 2022-11-29 | 647.3333 | 13.5394 | 7.0665 | 0.637
Nov-07 Station Road | 2103731 | 2022-11-01 | 2022-12-02 | 743 | 15.0182 | 7.8383 | 0.811
Nov-08 Boston Road A17 | 2103730 | 2022-11-02 | 2022-11-29 | 645.75 | 22.415 | 11.6988 | 1.052
Nov-09 Field End A17 | 2103729 | 2022-11-02 | 2022-11-29 | 647.25 | 26.8059 | 13.9905 | 1.261
Nov-10 Westmere | 2103728 | 2022-09-28 | 2022-12-01 | 1532.6667 | 11.0868 | 5.7864 | 1.235
Nov-11 Westmere | 2103727 | 2022-09-28 | 2022-12-01 | 1532.6667 | 11.2035 | 5.8473 | 1.248
Nov-12 Westmere | 2103726 | 2022-09-28 | 2022-12-01 | 1532.6667 | 10.997 | 5.7396 | 1.225
Nov-13 Donington A52 | 2103737 | 2022-09-28 | 2022-12-02 | 1555.4167 | 9.2616 | 4.8338 | 1.047
Nov-14 Blank | 2103736 |  |  | 1555.4167 | 0.097304 | 0.050785 | 0.011
Nov-15 Pinchbeck Road | 2103735 | 2022-11-01 | 2022-12-02 | 738.75 | 34.5302 | 18.022 | 1.854
Nov-16 Whaplode | 2103734 | 2022-11-02 | 2022-12-01 | 696.25 | 14.6236 | 7.6323 | 0.74
Nov-18 Gosberton | 2103733 | 2022-11-01 | 2022-12-01 | 721.3333 | 18.0635 | 9.4277 | 0.947
Nov-19 High Street | 2103732 | 2022-10-31 | 2022-11-29 | 692 | 30.2817 | 15.8047 | 1.523
Nov-20 BP Garage | 2103742 | 2022-10-31 | 2022-11-29 | 691.0833 | 21.7012 | 11.3263 | 1.09
Laboratory Blank |  |  |  | 1555.4167 | 0.026538 | 0.013851 | 0.003
Comment: Results are not blank subtracted
Tubes were exposed for longer than the recommended time. Results may be compromised.
Tube 2103733 contained an insect. Result may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Alison Wright |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2022-12-13 |  | Date of Report |  | 2022-12-13
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.

## Dec
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | R00549R
BOOKING IN REFERENCE | R00549
DESPATCH NOTE | 94765
CUSTOMER | South Holland District Council Attn: Oliver Abrams
Environmental Health Dept, Pollution Control, Council Offices, Priory Rd Spalding, Lincs. PE11 2XE
DATE SAMPLES RECEIVED | 2023-01-09
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
2001-12-01 | 2122011 | 2022-11-29 | 2023-01-05 | 888.8333 | 15.8049 | 8.2489 | 1.021
2002-12-01 | 2122012 | 2022-11-29 | 2023-01-05 | 892.75 | 34.9697 | 18.2514 | 2.269
2003-12-01 | 2122013 | 2022-11-29 | 2023-01-05 | 892.75 | 37.7284 | 19.6912 | 2.448
2004-12-01 | 2122014 | 2022-11-29 | 2023-01-05 | 892.75 | 40.3638 | 21.0667 | 2.619
2005-12-01 | 2122015 | 2022-11-29 | 2023-01-04 | 864.5 | 17.4594 | 9.1124 | 1.097
2006-12-01 | 2122016 | 2022-11-29 | 2023-01-05 | 885.25 | 15.2472 | 7.9578 | 0.981
2007-12-01 | 2122017 | 2022-12-02 | 2023-01-06 | 836.1667 | 18.1662 | 9.4813 | 1.104
2008-12-01 | 2122018 | 2022-11-29 | 2023-01-04 | 862.4167 | 26.2922 | 13.7224 | 1.648
2009-12-01 | 2122019 | 2022-11-29 | 2023-01-04 | 861.8333 | 24.8732 | 12.9818 | 1.558
2010-12-01 | 2122020 | 2022-12-01 | 2023-01-04 | 820.0833 | 13.6066 | 7.1016 | 0.811
2011-12-01 | 2122021 | 2022-12-01 | 2023-01-04 | 820.0833 | 13.0362 | 6.8038 | 0.777
2012-12-01 | 2122022 | 2022-12-01 | 2023-01-04 | 820.0833 | 12.2644 | 6.401 | 0.731
2013-12-01 | 2122023 | 2022-12-02 | 2023-01-06 | 839.1667 | 18.1996 | 9.4987 | 1.11
Dec-14 (Blank) | 2122024 |  |  | 911.75 | 0.090545 | 0.047257 | 0.006
2015-12-01 | 2122025 | 2022-12-02 | 2023-01-06 | 838.6667 | 37.0443 | 19.3342 | 2.258
2016-12-01 | 2122026 | 2022-12-01 | 2023-01-04 | 815.25 | 19.8474 | 10.3588 | 1.176
2017-12-01 | 2122027 | 2022-12-02 | 2023-01-06 | 835.5833 | 25.918 | 13.5272 | 1.574
2018-12-01 | 2122028 | 2022-12-01 | 2023-01-06 | 857.1667 | 19.7115 | 10.2878 | 1.228
2019-12-01 | 2122029 | 2022-11-29 | 2023-01-06 | 911.75 | 29.5326 | 15.4137 | 1.957
2020-12-01 | 2122030 | 2022-11-29 | 2023-01-05 | 888.4167 | 25.0272 | 13.0622 | 1.616
Laboratory Blank |  |  |  | 911.75 | 0.10564 | 0.055133 | 0.007
Comment: Results are not blank subtracted
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.030mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 20% TEA / Water |  |  | Analysed on UV CARY3
Analyst Name | Alison Wright |  | Report Checked By |  | Vanessa Kellie
Date of Analysis | 2023-01-24 |  | Date of Report |  | 2023-01-24
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.